## Slide 1: PHONOPHORESIS

## Slide 2
Phono means sound and phoresis means migration of ions through a membrane by the action of an electric current
Phonophoresis is defined as the movement of the drugs through skin into the subcutaneous tissues under th influence of ultrasound.
Sonophoresis
ultrasonophoresis

## Slide 3
PRICIPLE
Phonophoresis relies on the perturbation of the tissue causing more rapid particle movement and thus encouraging absorption of the drug

## Slide 4: Effects of phonophoresis
Thermal effects ________ tissue permeability
Acoustic pressure_______ derives medication into the tissue
Both continuous and pulsed mode are used
C. US at high intensity_____ pro inflammatory effects
Pulsed US with low average intensity is best choice_____ for anti inflammatory effects

## Slide 5: Penetration of Phonophoretically Driven Drugs
Penetration ____ uncertain
0.33 or 0.25 MHz_____ deeper penetration
1.5 and 3 MHz______ cutaneous anaesthetic effects ( lignocane)

## Slide 6: DRUGS used in Phonophoresis
Anti inflammatory drugs; Hydrocortisone (steriods): 10% ointment is more effective than 1% indications: psoriasis, scleroderma, bursitis
NSAIDS ; salicylates: anti-inflammatory analgesic cream pro-inflammatory vs anti-inflammatory effects
Lotions containing zinc oxide, tannic acid, urea and menthol: herpes simplex virus II infections
Antibiotics; penicillin: skin infections

## Slide 7: Application
Drug with suitable gel___ couplant
Applied with spatula
Rx head to the skin
1 to 1.5 W/cm2 intensity
frequency( according to depth of target tissue)
Time ______ area
1min for 10cm2 or 5 min for 25 cm2
After termination____ clean both skin and Rx head
Gels are more efficient than creams

## Slide 8: Contraindication
Pt cannot eat sea food___ iodine_ antidote _ antihistamine
Pt sensitive to metals___ zinc_ dermatological consultation for specific antidote
Hydrocortisone___ base of ointment __ novacine____ antidote antihistamine
Sensitive to aspirine___ salicylate____ medical consultation

## Slide 9: COMBINATION THERAPY

## Slide 10: COMBINATION THERAPY
The application of two therapeutic modalities at the same time and at the same site is described by combination therapy
MODALITIES USED ARE
Hot packs
Cold packs
Electric nerves and muscle stimulating currents( most widely used combination)

## Slide 11
ULTRASONIC AND INTERFERRENTIAL
US provide low resistance electric contact with skin
Electric stimulating currents are used for analgesia or for muscle contraction
Combination is recommended for myofacial trigger points
Both modalities produce analgesic effects and both are effective in pain_ spasm_pain cycle

## Slide 12
HOT PACKS AND HIGH INTENSITY ULTRASOUND
Thermal effects
Reduce muscle spasm and muscle guarding
Analgesic effects in pain management

## Slide 13
COLD PACKS AND LOW INTENSITY ULTRASOUND
Cold packs good analgesia and decrease acute blood flow after injury
Cold is analgesic so high intensity US is of high precaution, as no perception of pain and temperature
RX of acute and post acute injuries; cold for analgesia and reduce blood flow and edema, low intensity US promote soft tissue healing

## Slide 14: Justification to combination therapy
Beneficial effects both modalities are achieved at the same time
An efficient therapy in terms of time committed by both therapist and patient
Enhancing effects of one therapy upon the other, making combination therapy more effective than each therapy alone