## Slide 1: Work Tests to Evaluate Cardiorespiratory Fitness
Dr. Mustafa Qamar

## Slide 2: Screening
Signing consent form
Physical Activity Readiness Questionnaire (PAR-Q)
PARmed–X
  Highlights absolute and relative contraindications for exercise
ACSM Risk Stratification
  Low risk
    Men <45 yr, women <55 yr, asymptomatic, ≤1 risk factor
Testing Procedures
Notes: The PARmed-X is a physical activity-specific checklist to be used by a physician with patients who have had positive responses to the Physical Activity Readiness Questionnaire (PAR-Q).

## Slide 3
  Moderate risk
    Men ≥45, women ≥55, or ≥2 risk factors
  High risk
    ≥1 sign or symptom or known disease
6%

## Slide 4: Decision Tree in the Evaluation of Cardiorespiratory Fitness
Testing Procedures
9%

## Slide 6: PAR-Q
Testing Procedures
Figure 15.2
11%

## Slide 7: Resting and Exercise Measures
Resting measures
  Heart rate and blood pressure
  Cholesterol
  ECG
Exercise measures (GXT or field test)
  Heart rate
  Blood pressure
  ECG
  Symptoms
    Angina pectoris
    Dyspnea
Testing Procedures
13%

## Slide 8: Field Tests for Estimating Cardiorespiratory Fitness
Use natural activities
  Walking, running, or stepping
Can test large numbers of people at low cost
Physiological responses may be difficult to measure
Motivation plays an important role in test results
Field Tests for Estimating CRF
17%

## Slide 9: Maximal Run Tests
Measure how far a person can run in a set time or how fast they can run a set distance
  Cooper’s 12-minute run and 1.5-mile run
    For adults
  AAPHERD’s 1-mile run/walk and PACER test
    For children
VO2 max estimates based on the linear relationship between running speed and oxygen cost of running
  Duration of 10–20 minutes
    Running at speed demanding 90–95% VO2 max
    Minimize contribution of anaerobic energy sources
Field Tests for Estimating CRF
19%

## Slide 10: Estimating VO2 From Walk/Run Tests
Calculating VO2 from running speed
Calculating VO2 from walking speed
VO2 = 0.2 ml•kg–1•min–1 per m•min–1 + 3.5 ml•kg–1•min–1
Field Tests for Estimating CRF
VO2 = 0.1 ml•kg–1•min–1 per m•min–1 + 3.5 ml•kg–1•min–1
21%

## Slide 11: Progressive Aerobic Cardiovascular Endurance Run (PACER)
Used in school children
  Part of FITNESS testing battery
20-meter shuttle run
Initial speed is 5.3 mph
  Increases 0.3 mph with each level
Test terminated when student cannot keep up
  Number of laps used to determine aerobic fitness
Reliability has been questioned
  Compromises ability to detect changes in VO2 max
Field Tests for Estimating CRF
23%

## Slide 12: Aerobic Fitness Classifications
Field Tests for Estimating CRF
26%

## Slide 13: Cardiovascular Fitness Standards for Children
Normative standards
  Percentile scores (75th percentile)
Criterion-reference standards
  Describe the minimum level of fitness consistent with good health
  Example:
    VO2 max standards set at 42 ml•kg–1•min–1 for boys (5–17 y)
  Tests designed to translate criterion values into performance outcomes
    One-mile run times consistent with VO2 max values
Field Tests for Estimating CRF
28%

## Slide 14: Walk Tests
One-mile walk test requires simple measurements
VO2 max is based on:
  Age (years), weight (pounds), sex (0 for female, 1 for male), time (min), and HR (beats/min)
As fitness improves, HR and/or time will be lower
  Results in higher estimated VO2 max
Field Tests for Estimating CRF
30%
VO2 (ml•kg–1•min–1) = 132.853 – 0.0769 (wt) – 0.3877 (age) + 6.315 (sex) – 3.2649 (time) – 0.1565 (HR)
Notes: VO2 (ml•kg–1•min–1) = 132.853 – 0.0769 (wt) – 0.3877 (age) + 6.315 (sex) – 3.2649 (time) – 0.1565 (HR)

## Slide 15: Canadian Home Fitness Test
Uses 8-inch steps to evaluate cardiorespiratory fitness
Measure HR after 3 minutes of stepping
  Stop if it exceeds maximum allowable HR based on age
  Continue for another 3 minutes if it is below maximum allowable HR
  Fitness level is based on post-exercise HR
Field Tests for Estimating CRF
32%

## Slide 16: Fitness Evaluation from the Canadian Home Fitness Test
Field Tests for Estimating CRF
34%

## Slide 17: Graded Exercise Tests
Cardiorespiratory fitness measured using:
  Treadmill
  Cycle ergometer
  Stepping bench
Incremental tests
  Work rate increases every 2–3 minutes
    until predetermined endpoint is reached
Tests can be maximal or submaximal
Graded Exercise Tests: Measurements
38%

## Slide 18: Heart Rate
Graded Exercise Tests: Measurements
Measured by
  Palpation
    Carotid or radial artery
  Stethoscope
    On chest wall
  ECG
    Heart rate displayed on monitor
Measured during exercise or in recovery
  Recovery HR should be measured within first 15 seconds
40%

## Slide 19: Blood Pressure
By auscultation
During walking or cycling exercise
  Subject should not be holding handlebar
Systolic BP
  First Korotkoff sound
Diastolic BP
  Fourth Korotkoff sound
    Change in tone or muffling
Graded Exercise Tests: Measurements
43%

## Slide 20: ECG
Double product
  Product of HR and systolic BP
  Estimate of myocardial O2 demand
Arrhythmias
  Irregularities in normal electrical rhythm
    Atrial fibrillation
    Premature junctional and ventricular contractions
Conduction disturbances
  Depolarization is slowed or blocked
    First-degree AV block or bundle branch block
Myocardial ischemia
  Inadequate perfusion of myocardium
  Angina pectoris
    Symptom of ischemia
  ST segment depression
    Sign of ischemia
Graded Exercise Tests: Measurements
45%

## Slide 21: Three Types of ST Segment Depression
Graded Exercise Tests: Measurements
Figure 15.3
47%

## Slide 22: Rating of Perceived Exertion (RPE)
Original 6–20 scale and revised scale (0–10)
Indicator of subjective effort
  Way to track progress through a GXT
  Can be used to prescribe exercise
Instructions
  “During the exercise test we want you to pay close attention to how hard you feel the exercise work rate is. This feeling should reflect your total amount of exertion and fatigue, combining all sensations and feelings of physical stress, effort, and fatigue. Don’t concern yourself with any one factor such as leg pain, shortness of breath, or exercise intensity, but try to concentrate on your total, inner feeling of exertion. Try not to underestimate or overestimate your feeling of exertion; be as accurate as you can.”
Graded Exercise Tests: Measurements
49%

## Slide 23: Original and Revised RPE Scales
Graded Exercise Tests: Measurements
51%

## Slide 24: GXT Termination Criteria
Graded Exercise Tests: Measurements
55%

## Slide 25: VO2 Max
The gold standard measure of cardiorespiratory fitness
  Very reproducible on same work instrument
Depends on work instrument
  Highest on treadmill
    Walking ~6% lower than running
  Lower (~5–11%) on cycle ergometer
  Arm ergometer values 70% of leg ergometer
VO2 max vs. VO2 peak
VO2 Max
60%

## Slide 26: Criteria for Achieving VO2 Max
Leveling off of VO2 with higher work rate
  <150 ml•min–1 or <2.1 ml•kg–1•min–1
Post-exercise blood lactate >8 mmoles•L–1
R>1.15
Age-predicted maximal HR
  Usefulness has been questioned
Should not expect subjects to meet all criteria
VO2 Max
62%

## Slide 27: VO2 Max and the Plateau—Needed or Not?
Not all subjects achieve a plateau in VO2
  Led to development of secondary criteria
Several studies have demonstrated that a plateau is not needed for a “true” VO2 max
  Highest VO2 measured during incremental exercise test not different from VO2 during subsequent test at higher work rate
VO2 Max
64%

## Slide 28: Estimation of VO2 Max From Last Work Rate
Direct measurement of VO2 max is often not practical
  Complex and costly procedures
Can use equations to calculate estimated VO2 max from last stage of GXT
  Must allow time for subject to reach steady state in each stage
VO2 Max
66%

## Slide 29: Graded Exercise Test: Protocols
Consideration of the population tested
  Submaximal vs. maximal test
  Starting work rate
  Rate of change of work rate
  Mode of exercise
    Treadmill
    Cycle ergometer
    Step test
Subjects must follow instructions carefully
Environmental conditions must be controlled
  Temperature and humidity
Graded Exercise Test: Protocols
77%

## Slide 30: Cycle Ergometer
Body weight is supported
  Can accommodate subjects with orthopedic limitations
Work rate depends on resistance and pedal rate
  Generally, pedal rate is maintained and resistance is increased
Estimating VO2 max
  Based on extrapolating submaximal HR during incremental test
Graded Exercise Test: Protocols
85%

## Slide 31: Step Test
Simple, inexpensive equipment
Protocols differ in:
  Step height
  Step rate
Estimating VO2 max
  Based on extrapolating submaximal HR
  Can also use Åstrand and Ryhming nomogram
Graded Exercise Test: Protocols
94%

## Slide 32
Thank You !
100%