## Slide 1
D e s i g n o f a i r c o n d i t i o n i n g d u c t s

## Slide 2
Earlier the use of air-conditioning for
comfort purpose was considered a luxurious
but now-a-day, it has been a necessity in
extreme climatic conditions, such as
extreme cold and hot in western countries.
Window air conditioners are preferred for
office rooms while large centralized units
are installed for conditioning the
auditorium, hospitals etc.

## Slide 3
A i r c o n d i t i o n i n g d u c t s
T h e p u r p o s e o f a i r c o n d i t i o n i n g
d u c t w o r k i s t o d e l i v e r a i r f r o m
t h e f a n t o t h e d i f f u s e r s w h i c h
d i s t r i b u t e t h e a i r t o t h e r o o m .
A i r M o v e s T h r o u g h t h e
D u c t w o r k i n R e s p o n s e t o a
P r e s s u r e D i f f e r e n c e C r e a t e d b y
t h e F a n

## Slide 4
D u c t w o r k C o n s i d e r a t i o n s
S h a p e
S i z e
A s p e c t r a t i o
V e l o c i t y
S t a t i c P r e s s u r e

## Slide 5
M a t e r i a l s
S h e e t m e t a l ( b y
g a u g e )
G a l v a n i z e d I r o n
A l u m i n u m
F l e x i b l e

I n s u l a t e d
T u b e ( s o c k s )

01
01
01
02
02
03
04
04
05
05
05
06

## Slide 6
S h a p e a n d S i z e
Round
Oval
Rectangular

## Slide 7
R e c t a n g u l a r
L o w e r a s p e c t r a t i o s

M o r e e n e r g y e f f i c i e n t
U s e l e s s d u c t w o r k

V e l o c i t y a n d A r e a h a v e
a n i n v e r s e r e l a t i o n s h i p
t o t h e C F M ( C F M = V x
A )
V e l o c i t y a n d P r e s s u r e
D r o p h a v e a d i r e c t
r e l a t i o n s h i p
W
D
Aspect ratio = W / D
1 to 1

## Slide 8
A i r D i s t r i b u t i o n S y s t e m s
T h r e e T y p e s

A b o v e C e i l i n g
D i s p l a c e m e n t
U n d e r f l o o r


S e r v i c e s

S u p p l y a i r
R e t u r n a i r
V e n t i l a t i o n a i r
R e l i e f a i r
E x h a u s t a i r





## Slide 9
A b o v e C e i l i n g
D i s t r i b u t i o n S y s t e m
horizontal
horizontal
heat pump
pump
heat
supply
duct
supply
duct
return
return
duct
duct
diffuser
diffuser
return air
grille
return air
grille

## Slide 10
O t h e r D e s i g n
C o n s i d e r a t i o n s
Thermal mass
Natural light
Solar shading
Control strategies
Life safety issues
Infiltration
Mixed Air
conditions
Energy in the air
Comfort level of
the air
The amount of
water in the air

## Slide 11
D I S P L A C E M E N T
P R I N C I P L E S
•Conditioned air moves upward past the
persons breathing zone.
•This invisible plume continues an upward
movement toward the ceiling.
•A person will breathe lower contaminant
levels vs. a mixing design.

## Slide 12
D i s p l a c e m e n t
Advantages/Disadvantages
Advantages

Moderate supply
air temperature
Low velocity


Air delivered to
the comfort zone
without mixing
Accommodate

more outside air
for same energy
cost
Very quiet

Disadvantages

Higher initial
cost
Less well

understood
Too quiet
