## Slide 1: Microscopy

## Slide 2: MICROSCOPE
An optical instrument that uses a lens or a combination of lenses to produce highly magnified images of small specimens or objects especially when they are too small to be seen by the naked (unaided) eye

## Slide 3: TYPES OF MICRSOCPE
Light Microscope
  The Bright-Field Microscope
  The Dark-Field Microscope
    Phase-Contrast Microscope
    Differential Interference Contrast Microscope
    Polarized light microscope
Fluorescence Microscope
Metallurgical Microscope
Electron Microscopes
  Spin-polarized low-energy electron microscope (SPLEEM)
  Reflection electron microscope(REM)
  Transmission Electron Microscope(TEM)
  Scanning Electron Microscope(SEM)
Latest Techniques in Microscopy
  Confocal Microscopy
  Confocal laser scanning microscopy (CLSM or LSCM)
  Scanning Probe Microscopy
  Atomic force microscopy (AFM) or scanning force microscopy (SFM)
  Handheld Digital Microscopes

## Slide 4: LIGHT MICROSCOPES
Compound (high power microscopes),
Stereo or dissecting (low power microscopes).

## Slide 5: BRIGHT FIELD MICROSCOPY
Simplest of all the optical microscopy illumination techniques
Illuminated from below and observed from above

## Slide 6: DARK FIELD MICROSCOPY
Live and unstained biological samples

## Slide 7: PHASE CONTRAST
Differences in the phase of light transmitted or reflected by a specimen to form distinct, contrasting images of different parts of the specimen

## Slide 8: POLARIZING MICROSCOPY

## Slide 9: DIFFERENTIAL INTERFERENCE CONTRAST MICROSCOPY
Nomarski Interference Contrast (NIC) or Nomarski microscopy, is an optical microscopy illumination technique used to enhance the contrast in unstained, transparent samples

## Slide 10: FLUORESCENCE MICROSCOPE

## Slide 11: METALLURGICAL
Identification, inspection, and analysis of different metals and alloys

## Slide 12: ELECTRON MICROSCOPE
Transmission electron microscopy (TEM)
First TEM was built by Max Knoll and Ernst Ruska in 1931

## Slide 13: SCANNING ELECTRON MICROSCOPE (SEM)

## Slide 14: REFLECTION ELECTRON MICROSCOPE
In the reflection electron microscope (REM) as in the TEM, an electron beam is incident on a surface but instead of using the transmission (TEM) or secondary electrons (SEM), the reflected beam of elastically scattered electrons is detected. This technique is typically coupled with reflection high energy electron diffraction (RHEED) and reflection high-energy loss spectroscopy (RHELS). Another variation is spin-polarized low-energy electron microscopy (SPLEEM), which is used for looking at the microstructure of magnetic domains

## Slide 15: CONFOCAL MICROSCOPY
Increase optical resolution and contrast of a micrograph by using point illumination
Applications are in life sciences, semiconductor inspection and materials science
3D structures

## Slide 16: CONFOCAL LASER SCANNING MICROSCOPY
Obtaining high-resolution optical images with depth selectivity

## Slide 17: SCANNING PROBE MICROSCOPY
Forms images of surfaces using a physical probe that scans the specimen

## Slide 18: ATOMIC FORCE MICROSCOPY
Also called scanning force microscopy (SFM) is a very high-resolution type of scanning probe microscopy

## Slide 19: Handheld Digital Microscope