## Slide 1: Protein Sequencing

## Slide 2: Introduction
Practical process of determining the amino acid sequence of all or part of a protein or peptide
Identify the protein or characterize its post-translational modifications
Sequencing of a protein provides sufficient information
Mass spectrometry and Edman degradation

## Slide 3: Determining amino acid composition
Hydrolyse a known quantity of protein into its constituent amino acids.
Separate and quantify the amino acids in some way
Hydrolysis
Heating a sample of the protein in 6 M HCl to 100–110 °C for 24 h or longer
Thiol reagents or phenol to protect tryptophan and tyrosine from attack by chlorine, and pre-oxidising cysteine

## Slide 4
Separation and quantitation
Ion exchange chromatography, reverse phase HPLC
Colored derivatives
Ninhydrin – yellow color with proline
UV detector
C 8, C18 silica column

## Slide 5: N-terminal amino acid analysis
Ordering of individual peptide fragments' sequences into a whole chain
  React the peptide with a reagent that will selectively label the terminal amino acid.
  Hydrolyse the protein.
  Determine the amino acid by chromatography and comparison with standards
Sanger's reagent (1-fluoro-2,4-dinitrobenzene) and dansyl derivatives such as dansyl chloride. Phenylisothiocyanate

## Slide 6: C-terminal amino acid analysis
Add carboxypeptidases to a solution of the protein, take samples at regular intervals, and determine the terminal amino acid by analysing a plot of amino acid concentrations against time

## Slide 7: Edman degradation
Break any disulfide bridges in the protein with a reducing agent like 2-mercaptoethanol. A protecting group such as iodoacetic acid may be necessary to prevent the bonds from re-forming.
Separate and purify the individual chains of the protein complex, if there are more than one.
Determine the amino acid composition of each chain.
Determine the terminal amino acids of each chain.
Break each chain into fragments under 50 amino acids long.
Separate and purify the fragments.
Determine the sequence of each fragment.
Repeat with a different pattern of cleavage.
Construct the sequence of the overall protein.

## Slide 8: Identification by mass spectrometry
Isolation, typically by SDS-PAGE or chromatography
The isolated POI may be chemically modified to stabilise Cysteine residues (e.g. S-amidomethylation or S-carboxymethylation)
Digestion with a specific protease to generate peptides
Peptides may be desalted to remove ionizable contaminants and subjected to MALDI-TOF mass spectrometry
Depending on the type of mass spectrometer, fragmentation of peptide ions may occur via a variety of mechanisms such as Collision-induced dissociation (CID) or Post-source decay (PSD). In each case, the pattern of fragment ions of a peptide provides information about its sequence

## Slide 9
Information including the measured mass of the putative peptide ions and those of their fragment ions is then matched against calculated mass values from the conceptual (in-silico) proteolysis and fragmentation of databases of protein sequences
Software packages usually generate a report showing the identity (accession code) of each identified protein, its matching score, and provide a measure of the relative strength of the matching where multiple proteins are identified
A diagram of the matched peptides on the sequence of the identified protein is often used to show the sequence coverage (% of the protein detected as peptides).

## Slide 10: De novo sequencing
The pattern of fragmentation of a peptide allows for direct determination of its sequence by de novo sequencing. This sequence may be used to match databases of protein sequences or to investigate post-translational or chemical modifications

## Slide 11: Predicting from DNA/RNA sequences